£'COM

AECOM
2090 Palm Beach Lakes Blvd Suite 600
West Palm Beach, FL 33409 www.aecom.com

Mr. Jason Pierman
Special District Services, Inc. The Oaks Center
2501A Burns Road
Palm Beach Gardens, FL 33410

561 684 3375	tel
561 689 8531	fax

July 9, 2015
60309395

Subject: Journey's End Community Development District - Annual Report Dear Mr. Pierman:
AECOM performed a visual inspection of the facilities owned by the Journey's End Community Development District (JECDD) on May 29, 2015. Overall the surface water management system was found to be in working condition. The inspection did not include extraordinary methods such as dewatering, photographic means, etc. due to the expense, and satisfactory appearance and operation of the system.

General maintenance is being performed by the Property Owners Association (POA) in accordance with a high level maintenance Agreement entered into by the JECDD and the POA. It is our understanding that the JECDD maintains an oversight role.

Items identified in last year's report that have been addressed include the following :

The erosion protection around the upstream end of the outfall headwall was completed this past year and is in good condition (see Figure 27).

The chain link fence located at the outfall control structure between JECDD and Lake Worth Drainage District's (LWDD) L-16 Canal right-of-way has been replaced with a wrought iron fence.

The catch basins located in the roadways were clean of trash.

Based on visual inspection and as shown on the attached photographs, some existing JECDD owned facilities are in need of repair or maintenance. Although the system appeared to be in good functioning order, it is recommended that additional maintenance and/or repair be performed in the following areas:

All the lakes are currently low as it is the end of the dry season, and it is apparent that several of the lakes' banks have experienced additional erosion since we reported last year. At some locations in excess of a 24" vertical lip was observed due to the low water levels.

Implementation of a quarterly maintenance schedule for the storm water control structures, including catch basins and vegetation control around culvert connections within all lakes is recommended. The vegetation was still overgrown at the end of the pipe on one of the Lake 3 interconnects, as reported last year; trash and litter were noted in the catch basins near the clubhouse.

p:\60309395\400-technical\403 annual rpt\2015 annual reportecdd 2015 annual report.docx

A:COM

If you have any questions regarding this report, please feel free to call. Sincerely,
AECOM

Karen D. Brandon, P. E. District Engineer

KDB/dw Encl.

Karen D. Brandon, P.E.
No. 38579
JUL 0 g 2015
AECOM Technical SeNlces, Inc.
No. 811&

p:\60309395\400-technical\403  annual rpt\2015 annual reportecdd 2015 annual report.docx

0
0
00
N O

Journey's End Community Development District Inspection Photographs

Figure 1 - West End of Lake 1 Looking East on 05/29/2015

Figure 2 - North End of Lake 1 Looking East on 05/29/2015

Figure 3 - East End of Lake 2 Looking West on 05/29/2015

Figure 4 - North End of Lake 2 Looking Southwest on 05/29/2015

Figure 5 - East End of Lake 5 Looking North on 05/29/2015

Figure 6 - Looking Northwest of Lake 5 on 05/29/2015

Figure 7 - West End of Lake 5 Looking North on 05/29/2015

Figure 8 - West End of Lake 5 Looking Southeast on 05/29/2015

Figure 9 - North End of Lake 3 Looking West on 05/29/2015

Figure 10 - West End of Lake 3 off Kevin Way Looking Northwest on 05/29/2015

Figure 11 - West End of Lake 3 off Kevin Way Looking South on 05/29/2015

Figure 12 - West End of Lake 3 off Kevin Way Looking South on 05/29/2015

Figure 13 - West End of Lake 3 Looking East on 05/29/2015

Figure 14 - South End of Lake 3 Looking South on 05/29/2015

 	

Figure 15 - South End of Lake 3 off Kristen Way Looking North on 05/29/2015

Figure 16 - South End of Lake 3 Looking Northeast on 05/29/2015

Figure 17 - East End of Lake 4 Looking Northwest on 05/29/2015

Figure 18 - South End of Lake 4 Looking West on 05/29/2015

Figure 19 - South End of Lake 4 Looking East on 05/29/2015

Figure 20 - Lake 4 at West End Looking Northwest on 05/29/2015

Figure 21 - South End of Lake 4 off Wilbur Way Looking North on 05/29/2015

Figure 22 - East End of Lake 6 Looking North on 05/29/2015

Figure 23 - North End of Lake 6 Looking Southeast on 05/29/2015

Figure 24 - West End of Lake 6 Looking South on 05/29/2015

Figure 25 - East End of Lake 7 Looking West on 05/29/2015

Figure 26 - East End of Lake 7 near Ethan Drive Looking West on 05/29/2015

Figure 27 - East End of Lake 7 near JECDD Outfall Structure on 05/29/2015

Figure 28 - East End of Lake 7 at Outfall Structure Looking at New Fence on 05/29/2015